MATERIALS AND METHODS

Multiplex RT-PCR

We used a qualitative multiplex RT-PCR, an in vitro diagnostic test designed to detect 28 different translocations or chromosomal rearrangements, including more than 80 breakpoints or mRNA splice variants, which have been found to be specific markers for particular subtypes of leukemia. The following are the steps involved in the entire protocol.

(A)	RNA extraction

RNA was extracted from fresh peripheral blood/bone marrow aspirate fluid using Qiagen RNA extraction kit and was stored at -80°C until the next step. The following are the steps of RNA extraction

1.	Mix 1 volume of human whole blood with 5 volumes of Buffer EL 	in an appropriately sized tube. (typically 4000–7000 leukocytes 	per microliter)

2. 	Incubate for 10–15 min on ice. Mix by vortexing briefly 2 times 	during incubation.

3.	Centrifuge at 400 x g for 10 min at 4°C, and completely remove 	and discard supernatant.

4.	Add Buffer EL to the cell pellet (use 2 volumes of Buffer EL per 	volume of whole blood used in step 1. Re-suspend cells by 	vortexing briefly.

5. 	Centrifuge at 400 x g for 10 min at 4°C, and completely remove 	and discard supernatant.

6. 	Add Buffer RLT to pelleted leukocytes according to the table 	below. Vortex or pipet to mix.

7.	Pipet lysate directly into a QIAshredder spin column in a 2 ml 	collection tube and centrifuge for 2 min at maximum speed to 	homogenize. Discard QIAshredder spin column and save 	homogenized lysate.

8.	Add 1 volume (350 μl or 600 μl) of 70% ethanol to the 	homogenized lysate and mix by pipetting. Do not centrifuge.

Figure No 1:Qiagen RNA extraction Kit with reagents

9. 	Carefully pipet sample, including any precipitate which may 	have formed, into a new QIAamp spin column in a 2 ml 	collection tube without moistening the rim. Centrifuge for 15 s at 	8000 x g (10,000 rpm). Maximum loading volume is 700 μl.

10.	Transfer the QIAamp spin column into a new 2 ml collection 	tube. Apply 700 μl Buffer RW1 to the QIAamp spin column and 	centrifuge for 15 s at 8000 x g (10,000 rpm) to wash. Discard 	flow-through and collection tube.

11. 	Place QIAamp spin column in a new 2 ml collection tube. Pipet 	500ul of Buffer RPE into the QIAamp spin column and centrifuge 	for 15s at 10,000 rpm. Discard flow-through and collection tube.

12.	Carefully open the QIAamp spin column and add 500 μl of 	Buffer RPE. Close the cap and centrifuge at full speed (14,000 	rpm) for 3 min.

13.	Place the QIAamp spin column in a new 2 ml collection tube and 	discard the old collection tube with the filtrate. Centrifuge at full 	speed for 1 min.

14.	Transfer QIAamp spin column into a 1.5 ml microcentrifuge tube 	and pipet 30–50 μl of RNase-free water directly onto the 	QIAamp membrane. Centrifuge for 1 min at 8000 x g (10,000 	rpm) to elute.

(B)	Conversion to complimentary DNA (cDNA)

The extracted RNA is converted to cDNA using Thermoscientific cDNA conversion kit. The steps of the cDNA conversion are as follows:

1. 	Incubate the tubes containing RNA in a heating block/water bath 	at 70°C for 5 min (to remove protein by heat denaturation)

2. 	Chill on ice

3. 	Prepare cDNA Synthesis Mix as follows

(Number of samples + negative control) x volume of each reagent

| cDNA reaction mixture for 1 reaction |
| --- |
| Colour code | Reagent | Volume |
| Red | 5x cDNA synthesis buffer | 8 ul |
| Purple | dNTP Mix | 4 ul |
| Blue | RNA primer (random hexamer) | 2 ul |
| Yellow | RT enhancer | 2 ul |
| Black | Verso enzyme mix | 2 ul |
|  | Water (PCR grade) | 6 ul |
| Total volume | 24 ul |

Figure No 2:Thermoscientific cDNA conversion kit with reagents

4. 	Add 16 ul of template (extracted RNA and negative control)

5. 	Vortex the mixture - Each reaction mixture is 40 ul

6. 	Place the tubes in the thermo-cycler with the following cycling 	program

|  | Temperature | Time | No. of cycles |
| --- | --- | --- | --- |
| cDNA synthesis | 42°C | 60 min | 1 cycle |
| Inactivation | 95°C | 2 min | 1 cycle |

7. 	cDNA ready. Sample was stored at -20°C till the next step.

(C)	Nested Master PCR reactions

The cDNA was put through a nested PCR with the initial 8 primers designed for to locate the lane of interest, if any. The steps of the first master PCR amplification are as follows

1. 	The number of PCR reactions was determined (Eg: one pt 	sample + negative sample = 16 PCR reactions)

2. 	The first master polymerase mix (FM) was prepared using 	Kappa Biosystems reagents.

| Number of samples +negative control | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of PCR reactions | 16 | 24 | 32 | 40 | 48 | 56 | 64 | 72 | 80 | 88 | 96 |
| 5x Kapa 2G buffer A | 120 | 180 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 |
| dNTP mix (10Mn) | 9 | 13 | 18 | 22 | 26 | 31 | 35 | 39 | 44 | 48 | 52 |
| Kapa 2G fast Hotstart DNA polymerase (5U/ml) | 7 | 11 | 14 | 18 | 21 | 25 | 28 | 31 | 35 | 38 | 42 |
| ddH2O | 129 | 193 | 257 | 321 | 385 | 449 | 513 | 567 | 630 | 693 | 756 |
| Total volume | 265 | 397 | 529 | 661 | 792 | 925 | 1056 | 1177 | 1309 | 1439 | 1570 |

3. 	The tubed were mixed by pipetting to avoid bubbles. Tubes 	were label from M1 to M8

4. 	Add FM to each tube as per the table

| Number of samples + negative control | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transfer volume ul | 32 | 48 | 64 | 80 | 96 | 112 | 128 | 144 | 160 | 176 | 192 |

Figure No 3:Kappa Biosystem reagents for master mix

5. 	Master primer solutions from the Hemavision kit for the first

master PCR reaction were added (M1 PCR 1 through M8 PCR 1) to corresponding tubes containing FM (resultant – reaction mix –RM) according to the table

| Number of samples + negative control | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transfer volume ul | 11 | 16 | 21 | 27 | 32 | 37 | 43 | 48 | 54 | 59 | 64 |

6. 	The tubes were mixed by pipetting to avoid bubbles

7. 	Tubes were labeled for each sample and negative control

8. 	20 ul of RM was added to each tube

9. 	5ul of respective cDNA was added to each 8 set sample and 5 ul of negative control of cDNA

Figure 4:Hemavision kit – Primers for Master PCR reaction

10. 	The tubes were placed in thermal cycler with the following cycling program.

| Step | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| 1 | 95°C | 3 min | 1 cycle |
| 2 | 95°C 58°C 72°C | 15 sec 30 sec 30 sec | 25 cycles |
| 3 | 4°C | Hold | Hold |

11. 	First PCR mix is ready.

Figure No 5:Thermocycler

The steps for the second nested PCR amplification are as follows

1. 	The nested polymerase mix (NM) was prepared for similar number of PCR reactions as in the previous step

| Number of samples +negative control | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number of PCR reactions | 16 | 24 | 32 | 40 | 48 | 56 | 64 | 72 | 80 | 88 | 96 |
| 5x Kapa 2G buffer A | 120 | 180 | 240 | 300 | 360 | 420 | 480 | 540 | 600 | 660 | 720 |
| dNTP mix (10Mn) | 9 | 13 | 18 | 22 | 26 | 31 | 35 | 39 | 44 | 48 | 52 |
| Kapa 2G fast Hotstart DNA polymerase (5U/ml) | 7 | 11 | 14 | 18 | 21 | 25 | 28 | 31 | 35 | 38 | 42 |
| ddH2O | 199 | 298 | 398 | 497 | 596 | 695 | 795 | 881 | 979 | 1077 | 1175 |
| Total volume | 335 | 502 | 670 | 837 | 1003 | 1171 | 1338 | 1491 | 1658 | 1823 | 1989 |

2. 	The tubes were mixed by pipetting to avoid bubbles

3. 	Tubes were labeled from M1 to M8

4. 	Nested PCR mix was transferred to each tube as per table

| Number of samples + negative control | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transfer volume ul | 40 | 61 | 81 | 102 | 122 | 142 | 162 | 183 | 203 | 224 | 244 |

| Number of samples + negative control | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transfer volume ul | 11 | 16 | 21 | 27 | 32 | 37 | 43 | 48 | 54 | 59 | 64 |

5. 	Nested primer for the solutions from Hemavision Kit (M1 PCR II through M8 PCR II) was added to corresponding tubes containing NM (resultant – reaction mix –RM2) – according to the table.

6. 	Respective primer solutions was added to corresponding tubes

7. 	8 set of tubes were labeled for each sample and one set for negative control

8. 	24 ul of RM2 was delivered to each tube

9. 	1.0 ul of first master PCR reaction was added to corresponding master PCR tube

10. 	Tubes were placed in the thermal cycler with the following cycling program

| Step | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| 1 | 95°C | 3 min | 1 cycle |
| 2 | 95°C 58°C 72°C | 15 sec 30 sec 30 sec | 20 cycles |
| 3 | 72°C | 10 min | 1 cycle |
| 4 | 4°C (if required) | Hold | Hold |

11. 	Final PCR product was ready for loading into the gel.

12.	Agarose gel electrophoresis: The final PCR product was subjected to electrophoresis, with an additional lane having the molecular marker (DNA ladder), in a 2% Agarose gel with addition of ethidium bromide. The results were documented using a UV light source.

(D) 	Nested Split out PCR reactions

Depending on the presence of a positive band in a lane, the sample was subjected to a second round of spilt out nested PCR reactions with more specific primers provided in the Hemavision kit  to identify the specific translocation. The steps were as follows:

1.	cDNA synthesis for spilt out amplification: Steps are similar to the previous procedure for cDNA synthesis

2.	Calculate the volume of reagents required per lane of split out x number of split out for one sample (5 ul for each split out)

| cDNA reaction mixture for one spilt out lane (5ul) |
| --- |
| Colour code | Reagent | Volume |
| Red | 5x cDNA synthesis buffer | 1 ul |
| Purple | dNTP Mix | 0.5 ul |
| Blue | RNA primer (random hexamer) | 0.25 ul |
| Yellow | RT enhancer | 0.25 ul |
| Black | Verso enzyme mix | 0.25 ul |
|  | Water (PCR grade) | 0.75 ul |
|  | RNA extracted (template) | 2ul |
| Total volume | 5 ul |

3.	Spilt out PCR amplifications: The volume of the split out polymerase mix depends on

- the number of master PCR reactions showing translocation specific PCR product

- the number of patient sample

- number of negative controls  (one per each spilt out reaction)

4. 	First split out polymerase mix: Calculate for I sample extra – to compensate for pipetting errors

| Total mixture for 1 reaction |
| --- |
| Reagent | Volume |
| 5x Kapa 2G buffer A | 7.5 ul |
| dNTP mix (10Mn) | 0.5 ul |
| Kapa 2G fast Hotstart DNA polymerase (5U/ml) | 0.4 ul |
| ddH2O | 6.6 ul |
| Total volume | 15 ul |

5.	Mix by pipetting to avoid formation of bubbles

6.	Set up rows of PCR tubes

- One set for each sample having a specific positive reaction in the master amplification

- One set of negative control for each type of spilt out setup

7.	Transfer 15 ul of first split out polymerase mix to each tube

8.	Add 5 ul of first split out primer solutions set (MX)-PCR -1 to 			each sample and negative control tube

9.	Add 5 ul of cDNA sample to each set of tubes

10.	Place PCR tubes in thermal cycler with the following program

| Step | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| 1 | 95°C | 3 min | 1 cycle |
| 2 | 95°C 58°C 72°C | 15 sec 30 sec 30 sec | 25 cycles |
| 3 | 4°C | Hold | Hold |

11.	Nested split out PCR amplification: Volume of the nested split 		out polymerase mix depends on the number of split out PCR 		reactions prepared in the previous procedure.

| Total mixture for 1 reaction |
| --- |
| Reagent | Volume |
| 5x Kapa 2G buffer A | 7.5 ul |
| dNTP mix (10Mn) | 0.5 ul |
| Kapa 2G fast Hotstart DNA polymerase (5U/ml) | 0.4 ul |
| ddH2O | 10.6 ul |
| Total volume | 19 ul |

12.	Calculate for one sample extra to compensate for pipetting errors. Mix 	by pipetting to avoid formation of bubbles.

Figure No 6 Hemavision kit primers for Split out reactions

13.	Set up rows of PCR tubes

- One set for each sample having a specific +ve reaction in the master amplification

- One set of negative control for each type of spilt out setup

14.	Transfer 19 ul of the spilt out polymerase mix to each tube

15.	Add 5 ul of identified split out primer solutions set (MX)-PCR II to 		each sample and negative control.

16.	Add 1 ul of each first split out PCR reaction to each set of tubes 		containing corresponding primer solutions and nested split out 		polymerase mix.

17. 	Place the PCR tubes in thermal cycler with the following 			program.

| Step | Temperature | Time | Cycles |
| --- | --- | --- | --- |
| 1 | 95°C | 3 min | 1 cycle |
| 2 | 95°C 58°C 72°C | 15 sec 30 sec 30 sec | 20 cycles |
| 3 | 72°C | 10 min | 1 cycle |
| 4 | 4°C (if required) | Hold | Hold |

18.	Final PCR for loading into the gel is ready.

Result:

The positive band obtained on the Agarose gel electrophoresis was compared with the molecular marker lane base pair and the translocation was identified by referring to the key provided by the Hemavision.

Quality control procedure

The internal control fragment of 911 bp was amplified in all lanes, which checks for the integrity of the RNA sample and for the presence of PCR inhibitors. To achieve maximal specificity and sensitivity of the test, specific cDNA primers and a nested PCR system employing translocation specific nested primer pairs was been used.